ANGELINA COUNTY & CITIES HEALTH DISTRICT

REQUEST FOR PROPOSALS FOR HVAC MAINTENANCE AND REPAIR

December 12, 2025

# TABLE OF CONTENTS

Timetable of RFP Events	page 2

General Specifications	page 3

# TIMETABLE OF RFP EVENTS

## ACTION

RFP notification posted online; packets made available for distribution.

Deadline for questions ycfletcher@acchd.us.

Request for proposal deadline.

Sealed bid proposals must be mailed to: Angelina County Board of Health

503 Hill Street

Lufkin, TX 75904

Review and evaluation process begins.

Selection and notification of winning proposal to all proposers, subject to ACCHD Board approval.

Agreement/Contract for deliverables and services  initiated no later than.

## ON

DECEMBER 12, 2025

JANUARY 11, 2026, 12:00 PM

JANUARY 11, 2026, 5:30 PM

JANUARY 21, 2026

JANUARY 22, 2026

FEBRUARY 1, 2026

General Specifications

Contractors or subcontractors shall be provided access to the premises during regular business hours, or such other hours as may be requested.

SPRING	FALL

- CHECK OPERATION PRESSURE & REFRIGERANT CHARGE	• CLEAN & ADJUST PILOT

- CHECK TEMPERATURE DROP ON COOLING COIL	• CHECK COMBUSTION

- CHECK & CLEAR CONDENSATE DRAIN	• INSPECT DRAFT & FLUE

- CLEAN CONDENSER COIL	• CHECK FOR PROPER IGNITION

- INSPECT EVAPORATOR COIL FOR CLEANLINESS	• CHECK CONTACTORS & RELAYS

- INSPECT FOR REFRIGERANT LEAKS	• CHECK SEQUENCE OF OPERATION

- INSPECT/LUBRICATE MOTORS	• INSPECT/LUBRICATE MOTORS

- CHECK ALL SAFETY SWITCHES & CONTROLS	• CHECK ALL SAFETY SWITCHES & CONTROLS

- CHECK & ADJUST BELTS & DRIVES	• CHECK & ADJUST BELTS & DRIVES

- CHECK & CALIBRATE THERMOSTAT	• CHECK & CALIBRATE THERMOSTAT

- CHECK & TIGHTEN ELECTRICAL CONNECTIONS	• CHECK & TIGHTEN ELECTRICAL CONNECTIONS

- INSPECT SYSTEM FOR AIR LEAKS	• INSPECT SYSTEM FOR AIR LEAKS

- INSPECT CAPACITORS, CONTACTORS, & RELAYS	• INSPECT CAPACITORS

- CHECK FOR PROPER VOLTAGES & AMPERAGES	• CHECK FOR PROPER VOLTAGES & AMPERAGES

- INSPECT BLOWER	• INSPECT BLOWER

- CHECK BREAKERS & DISCONNECTS	• CHECK BREAKERS & DISCONNECTS